## Data Input
ANSI C119.1
Integrity of SealTest Data
Test # | [5 empty] | Date
Part #
Sample #
MAIN | Cable Size - Main
Cut Ring (If Applicable)
Insulation Type
Fill in for Below Compression Type Connector
Attached Compression Connector P/N
Crimping Tool
Die
Number of Crimps
Fill in Below for Mechanical Type
Screw Size
Number of Screws
Torque (in-lb)
TAP | Cable Size - Tap
Cut Ring (If Applicable)
Insulation Type
Fill in for Below Compression Type Connector
Attached Compression Connector P/N
Crimping Tool
Die
Number of Crimps
Fill in Below for Mechanical Type
Screw Size
Number of Screws
Torque (in-lb)
Initial Readings After 24 Hour Submersion
Leakage (µ A)
Measured Resistance (Meg Ω)
4.3.2 (2) |  | Resistance (Meg Ω) | 1000 V dc
4.2.3 (3) |  | Dielectric | 2200 V ac
Pass / Fail
After Heat Conditioning , Twist & Flex & 24 Hour Submersion
Leakage (µ A)
Measured Resistance (Meg Ω)
4.3.2 (8) |  | Resistance (Meg Ω) | 1000 V dc
% Initial Reading
Pass / Fail
After Cold Conditioning , Twist & Flex & 24 Hour Submersion
Leakage (µ A)
Measured Resistance (Meg Ω)
4.3.2 (13) |  | Resistance (Meg Ω) | 1000 V dc
|  | % Initial Reading |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Pass / Fail
After Heat Cycle
Leakage (µ A)
Measured Resistance (Meg Ω)
4.3.2 (15) |  | Resistance (Meg Ω) | 1000 V dc
|  | % Initial Reading |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Pass / Fail
4.2.3 (3) |  | Dielectric | 2200 V ac
4.3.2 (16) |  | Leakage (µ A) | 600 V ac
Pass / Fail

## Compression Report
ANSI C119.1
Integrity of Seal Test Report
Test # | 0 |  |  |  |  | Date: | 0
Part # |  |  |  | 0
Sample #
MAIN | Cable Size - Main
Cut Ring (If Applicable)
Insulation Type
Crimping Tool
Die
Number of Crimps
TAP | Cable Size - Tap
Cut Ring (If Applicable)
Insulation Type
Crimping Tool
Die
Number of Crimps
Initial Readings After 24 Hour Submersion
4.3.2 (2) |  | Resistance (Meg Ω) | 1000 V dc | --- | --- | --- | ---
4.2.3 (3) |  | Dielectric | 2200 V ac | --- | --- | --- | ---
Pass / Fail
After Heat Conditioning , Twist & Flex & 24 Hour Submersion
4.3.2 (8) |  | Resistance (Meg Ω) | 1000 V dc | --- | --- | --- | ---
% Initial Reading
Pass / Fail
After Cold Conditioning , Twist & Flex & 24 Hour Submersion
4.3.2 (13) |  | Resistance (Meg Ω) | 1000 V dc | --- | --- | --- | ---
% Initial Reading
Pass / Fail
After Heat Cycle
4.3.2 (15) |  | Resistance (Meg Ω) | 1000 V dc | --- | --- | --- | ---
% Initial Reading
Pass / Fail
4.2.3 (3) |  | Dielectric | 2200 V ac
4.3.2 (16) |  | Leakage (µ A) | 600 V ac
Pass / Fail

## Mechanical Report
ANSI C119.1
Integrity of Seal Test Report
Test # | 0 |  |  |  |  | Date: | 0
Part # |  |  |  | 0
Sample #
MAIN | Cable Size - Main
Cut Ring (If Applicable)
Insulation Type
Screw Size
Number of Screws
Torque (in-lb)
TAP | Cable Size - Tap
Cut Ring (If Applicable)
Insulation Type
Screw Size
Number of Screws
Torque (in-lb)
Initial Readings After 24 Hour Submersion
4.3.2 (2) |  | Resistance (Meg Ω) | 1000 V dc | --- | --- | --- | ---
4.2.3 (3) |  | Dielectric | 2200 V ac
Pass / Fail
After Heat Conditioning , Twist & Flex & 24 Hour Submersion
4.3.2 (8) |  | Resistance (Meg Ω) | 1000 V dc | --- | --- | --- | ---
% Initial Reading
Pass / Fail
After Cold Conditioning , Twist & Flex & 24 Hour Submersion
4.3.2 (13) |  | Resistance (Meg Ω) | 1000 V dc | --- | --- | --- | ---
% Initial Reading
Pass / Fail
After Heat Cycle
4.3.2 (15) |  | Resistance (Meg Ω) | 1000 V dc | --- | --- | --- | ---
% Initial Reading
Pass / Fail
4.2.3 (3) |  | Dielectric | 2200 V ac
4.3.2 (16) |  | Leakage (µ A) | 600 V ac
Pass / Fail